## Slide 2
Setup
Wiring Guide
Placement Guide
Temperature Monitoring
Temperature Trend
Air Speed and Sound Level
Radiant Warmer
Baby Incubator Tester
Battery
%

## Slide 3
Setup
Wiring Guide
Placement Guide
Temperature Monitoring
Temperature Trend
Air Speed and Sound Level
Radiant Warmer
Baby Incubator Tester
Battery
%

## Slide 4
Temperature (°C)
Baby Incubator Tester
Battery
%
26.7
Humidity (%)
56.2
T1
27.1
26.9
26.8
T2
T3
Max: 27.2
Max: 27.3
Max: 27.0
T3
27.0
26.2
T4
T5
Max: 27.8
Max: 27.9
Max: 27.0
14/05/2024 10:45:32

## Slide 5
Temperature (°C)
Baby Incubator Tester
Battery
%
Humidity (%)
T1
T2
T3
Max:
Max:
Max:
T3
T4
T5
Max:
Max:
Max:

## Slide 6
Temperature (°C)
Baby Incubator Tester
Battery
%
Humidity (%)
56.2
T1
T2
T3
Max:
Max:
Max:
T3
T4
T5
Max:
Max:
Max:

## Slide 7
Temperature (°C)
Baby Incubator Tester
Battery
%
Humidity (%)
56.2
14/05/2024 10:45:32
26.4°C
26.4°C
26.4°C
26.4°C
26.4°C
26.4°C
Max Temp 1: 27.2°C
Max Temp 2: 27.2°C
Max Temp 3: 27.2°C
Max Temp 4: 27.2°C
Max Temp 5: 27.2°C
Max Temp 6: 27.2°C

## Slide 8
Placement Guide
Baby Incubator Tester
Battery
%
T1
T2
T3
T4
T5
AJX
DC 12V In
T1 – T5 = Temperature Sensors
AJX = Air speed and sound level

## Slide 9
Placement Guide
Baby Incubator Tester
Battery
%
T1
T2
T3
T4
T5
AJX
DC 12V In
T1 – T5 = Temperature Sensors
AJX = Air speed and sound level

## Slide 10
Wiring Guide
Baby Incubator Tester
Battery
%

## Slide 11
Wiring Guide
Baby Incubator Tester
Battery
%

## Slide 12
Baby Incubator Tester
Battery
83%
Air Speed (m/s)
1.6
Sound Level (dBHL)
67
Connect air speed sensor and sound level probe to Aux port. Wait 30 sec or restart device if necessary!
Wiring Guide

## Slide 13
Baby Incubator Tester
Battery
83%
Air Speed (m/s)
1.6
Sound Level (dBHL)
67
Connect air speed sensor and sound level probe to Aux port. Wait 30 sec or restart device if necessary!
Wiring Guide

## Slide 14
Baby Incubator Tester
Battery
%
Air Speed (m/s)
Sound Level (dBHL)
Connect air speed sensor and sound level probe to Aux port. Wait 30 sec or restart device if necessary!
Wiring Guide

## Slide 15
Baby Incubator Tester
Battery
%
Air Speed (m/s)
Sound Level (dBHL)
Connect air speed sensor and sound level probe to Aux port. Wait 30 sec or restart device if necessary!
Wiring Guide

## Slide 16
RADIANT WARMER MODE
Please connect Thermal Absorber sensor to T6!
Baby Incubator Tester
Battery
%
Disk Temp (°C)
Max Temp (°C)

## Slide 17
RADIANT WARMER MODE
Please connect Thermal Absorber sensor to T6!
Baby Incubator Tester
Battery
%
Disk Temp (°C)
Max Temp (°C)

## Slide 18
TEMPERATURE TREND
Resolution
Pause
Clear
1s
2s
4s
8s
Real-Time (°C)
T1
T2
T3
T4
T5
T6

## Slide 19
TEMPERATURE TREND
Resolution
1s
2s
4s
8s
Pause
Clear
Real-Time (°C)
T1
T2
T3
T4
T5
T6

## Slide 20
TEMPERATURE TREND
Resolution
Resume
Clear
1s
2s
4s
8s
Real-Time (°C)
T1
T2
T3
T4
T5
T6

## Slide 21
TEMPERATURE TREND
Resolution
1s
2s
4s
8s
Resume
Clear
Real-Time (°C)
T1
T2
T3
T4
T5
T6

## Slide 22
Temperature trend will be cleared.
No data saved. Are you sure?
Yes
No

## Slide 23
Temperature trend will be cleared.
No data saved. Are you sure?
Yes
No

## Slide 24
BRIGHTNESS
%
Baby Incubator Tester
Battery
%
DATE AND TIME SETTINGS
/ /
: :
Change

## Slide 25
BRIGHTNESS
%
Baby Incubator Tester
Battery
%
DATE AND TIME SETTINGS
/ /
: :
<
>
+
-
Set

## Slide 26
BRIGHTNESS
%
Baby Incubator Tester
Battery
%
DATE AND TIME SETTINGS
/ /
: :
<
>
+
-
Set

## Slide 27
15
20
25
30
15
20
25
30
7,5
10
12,5
7,5
10
12,5
Panduan Penempatan Sensor Inkubator Bayi
Infant Incubator Sensor Placement Guide
Ukuran dalam cm

## Slide 28
Data Stream Only
Baby Incubator Tester
Battery
%
Data Capture and Stream

## Slide 29
Data Stream Only
Baby Incubator Tester
Battery
%
Data Capture and Stream

## Slide 30
File Name
Baby Incubator Tester
Battery
%
Save
Back

## Slide 31
File Name
Baby Incubator Tester
Battery
%
Save
Back

## Slide 32
File Name
Baby Incubator Tester
Battery
%
Save
Back
File created!

## Slide 33
TEMPERATURE TREND
Res
1s
2s
4s
8s
Real-Time
T1
T2
T3
T4
T5
T6
Pause
Clear
Start Capture

## Slide 34
TEMPERATURE TREND
Real-Time
T1
T2
T3
T4
T5
T6
Res
1s
2s
4s
8s
Pause
Clear
Start Capture

## Slide 35
TEMPERATURE TREND
Real-Time
T1
T2
T3
T4
T5
T6
Res
1s
2s
4s
8s
Resume
Clear
Stop and Save
Writing to

## Slide 36
TEMPERATURE TREND
Real-Time
T1
T2
T3
T4
T5
T6
Res
1s
2s
4s
8s
Resume
Clear
Stop and Save